Wiring Diagram monitoring the meter and 2 different buss. The clients can monitor their usage to assist budget requirements.

Wiring Diagram; its purpose again to monitor electrical usage the total in this case should be the meter reading.

Wiring Diagram; 3 Phase Meter Monitoring combined with SOLAR Monitoring

NOTE; the CT clip is reversed on the solar output.

Wiring Diagram 1 x 3 Phase Meter Monitoring

Five main CSM models 60Amp, 120Amp, 400Amp, 600Amp and 3000Amp.

It is possible to customize the inputs at a cost with exception the 3000Amps which uses Rogeski Rings

The main communication methods WiFi, Lorawan, GSM 3/4G and wired Modbus.

New CSM model has 3 single phase inputs and 3 control On/Off.

In built logger 1 to 3 months (5 minute intervals).